## Example Fire Risk Assessment – Summary of Action Points

Group / location: 1st Anytown Scout Group

Conducted by:	John Smith	Date:	11th February 2020		Review Date:	February 2021

| Location | Hazard & Persons at Risk (Guests & staff unless otherwise indicated) | Action Required | Date Required | Responsible Person | Date Completed |
| --- | --- | --- | --- | --- | --- |
| Whole building | User not aware to evacuate in good time in the event of fire | Fit linked detection/alarm system. NB – fundraising required by executive | December 2020 |  |  |
| Lobby | Inability to safely identify Exit Routes. | Ensure that both Final Exit sign lighting units are maintained in working order. | March 2020 |  |  |
|  | Inability to safely use Exit route | Ensure that the central corridor and the route to the final exit are kept clear. | Ongoing |  |  |
|  | Insufficient illumination of Exit Route. | Ensure that emergency lighting unit is maintained in working order. |  |  |  |
| Store Room | Ignition of small gas canisters | Add Flammable gas sign to outside building. |  |  |  |
| Activity Equipment store | No significant risk identified |  |  |  |  |
| Main Hall | Inability to open exit quickly. | Add push bar sign. |  |  |  |
|  | Insufficient extinguishers to cover risks. | Add CO2 & Foam on each exit route. Mount and sign. |  |  |  |
|  | Risk of users unsure what to do in the event of fire | Add Fire Action notices. |  |  |  |
| Toilet | Combustible material stored in doorway. | Training given to ensure this does not happen. | Ongoing |  |  |
| Kitchen | Risk of fire & smoke spreading through open door between kitchen and main hall. | Add door closer to fire door. Check & repair smoke strips on door |  |  |  |
|  | Insufficient extinguishers to cover risks. | Add CO2 extinguisher on exit route and Fire Blanket. |  |  |  |
|  | Rrisk of not escaping as inability to use the final Exit due to obstruction. | Improve general housekeeping to avoid accidents and ensure good access and egress. Mark walkways clearly. |  |  |  |

Revised	19th February 2020