##### Example fire hazard checksheet

##### Building name                                                       Room                                                     .

Assessed by . . . . . . . . . . . . . . . . .  . . . . . . . . . . . .  .Date . . . . . . . . . . . . . . .

| People At Risk | Yes/No |
| --- | --- |
| Number of persons using the area/room/floor at any one time |  |
| Are there disabled people in the area/room/floor? |  |
| Are there areas where people are isolated? |  |
| Do persons regularly sleep on the premises? |  |
| Notes: |  |

Fire Hazards within the Area/Room/Floor

| Fire Hazards | Yes | No |
| --- | --- | --- |
| Are there any significant fire hazards in the area/room/floor? |  |  |
| If there are, can they be removed, replaced or reduced? |  |  |
| (see below) Notes: |  |  |

Ignition sources that may be present	(tick box as appropriate)

| Naked flames |  | Hot work - welding, grinding |  | Electrical Equipment |  |
| --- | --- | --- | --- | --- | --- |
| Cooking equipment |  | Faulty or misused electrical equipment |  | Extension leads / multi point adapters |  |
| Light bulbs / tubes too close to combustibles |  | Gas or oil fired heaters |  | Gas or oil fired boilers |  |
| Machinery |  | Arson |  |  |  |

Fuel sources that may be present	(tick box as appropriate)

| Paper or Card |  | Wood |  | Furniture or Textiles |  |
| --- | --- | --- | --- | --- | --- |
| Flammable liquids |  | Waste materials |  | Chemicals |  |
| Plastics |  | Aerosols |  |  |  |

Notes:

| Structural features | Yes | No |
| --- | --- | --- |
| Are there any structural features that could promote the spread of fire? Serving hatch False ceiling |  |  |
| If there are, can they be removed, replaced or reduced? |  |  |
| Is there secure separation between compartments to protect one area from spread of fire from another? |  |  |
| Are there Fire Doors in place? Are they in good condition? Is there a checking process by a competent person in place? |  |  |
| Notes: |  |  |

| Means of Escape – Horizontal Evacuation | Adequate |
| --- | --- |
|  | Yes | No |
| Control measures for any fire hazards within the area/room/floor |  |  |
| Control and monitoring of the number of occupants |  |  |
| Number of escape routes |  |  |
| Number and widths of exits |  |  |
| Corridors |  |  |
| Dead-end conditions |  |  |
| Door openings and door fastenings |  |  |
| Door closers |  |  |
| Smoke strips on Fire doors |  |  |
| Sufficient number of stairways |  |  |
| Provision for disabled persons |  |  |

Notes:

| Fire Safety Signs and Notices | Yes | No |
| --- | --- | --- |
| Exit signs |  |  |
| “Fire Door-Keep Shut” signs |  |  |
| “Fire Door-Keep Locked Shut” signs |  |  |
| “Fire Exit-Keep Clear” signs |  |  |
| General fire action notices |  |  |
| Fire-fighting equipment signs |  |  |
| Door operating signs (i.e. Push bar To Open) |  |  |

Notes:

| Fire Warning Systems | Yes | No |
| --- | --- | --- |
| Will the system alert all occupants in the event of fire? |  |  |
| If manual devices such as rotary gongs are provided, can the person operating the device do so in a position of safety? |  |  |

Notes:

| Emergency Lighting | Yes | No |
| --- | --- | --- |
| Sufficient illumination to see escape routes clearly? |  |  |
| Sufficient illumination to see external escape routes clearly? |  |  |
| Operates on sub-circuit failure? |  |  |
| Illumination at changes of level? |  |  |
| Illuminated at changes of direction? |  |  |
| Illuminated to show fire alarm call-points and fire fighting equipment? |  |  |
| Emergency Lighting checked – Monthly – 10 mins? 6 monthly – 30 mins Annual – full drain down |  |  |

Notes:

| Fire Fighting Equipment | Yes | No |
| --- | --- | --- |
| Is there sufficient fire-fighting equipment provided for the area/room/floor? |  |  |
| Is the fire fighting equipment appropriate for the risks? |  |  |
| Is simple to use? |  |  |
| Has it been checked by a competent person in the last 12 months? |  |  |
| Does it conform to a standard? |  |  |
| Is It located on escape routes and near to exit doors? |  |  |
| Is it securely hung on wall brackets or suitable floor plates? |  |  |

Notes:

| Means of Escape – Vertical Evacuation | Adequate |
| --- | --- |
|  | Yes | No |
| Number of stairs and sufficient for occupancy |  |  |
| Width of stairs |  |  |
| Width of exits |  |  |
| Stair protection in terms of fire resisting doors and partitions |  |  |
| Door openings and fastenings |  |  |
| Places of safety from final exits |  |  |
| Housekeeping: Clear of rubbish Extinguishers kept clear of domestic items (coats, bags, brooms…etc.) Escape routes clear inside and outside? |  |  |

Notes:

| Record Keeping | Yes | No |
| --- | --- | --- |
| Weekly checks of Smoke/fire alarms |  |  |
| Weekly checks of Carbon Monoxide alarms |  |  |
| Monthly visual check of fire extinguishers |  |  |
| Annual servicing - Alarms |  |  |
| Annual servicing fire extinguishers |  |  |
| Emergency lighting |  |  |