# Example Fire Risk Assessment

Management Information

## Address of property

1st Alphatown Scout Group HQ Delta Avenue Alphatown AB12 3CD

Telephone – 030 8433 7100

## Management System

Organisation The site is the Headquarters building for the 1st Alphatown Scout Group. Safety within the Group is managed by the Trustee Board. Their role is to ensure the safety of the premises within which activities, led by the section volunteers, take place. The Chair of the Trustee Board is the Responsible Person. Control & Monitoring The Trustee Board meets each term and safety is always an item on the agenda. It is their role to monitor, review and improve the fire safety systems that are in place for the site. Regular checks are made to by users of the HQ. Smoke alarms / fire alarm for the building are tested weekly and maintained by contractors on a quarterly basis. It has a number of fire extinguishers. An evacuation plan is in place and it is practised each term by all of the sections regularly using the hall. A dance class uses the HQ one night each week and their leader has been instructed on all the relevant fire safety information including the need to carry out a regular evacuation practise. All evacuation practises are recorded in the Fire Log Book (red folder kept in the Kitchen cupboard) Review The latest Fire Risk Assessment has been completed during May 2020 and will be reviewed in May 2021. It shall be done annually thereafter. A copy of this document is to be displayed for all users and visitors on the noticeboard nearest the main doors.

Give a general description of the premises and the use to which it is put. Include the following details:

- Times in use

- Total number of people using the premises at any one time(visitors, members of the public etc)

- Size of the premises

- Number of staircases and floors

## General description of the premises

The HQ consists of 2 buildings:

Headquarters Hall A large brick and wooden building (c1960) around 30m x 10m. It has a large communal hall, kitchen, 2 x toilets and a small committee room. It has smoke detectors (hard wired) in all the rooms. It has emergency lights over the doors.

Stores Building A large wooden building (c1960) around 10m x 8m used as storage for large equipment including camping kit. 2 x battery smoke detectors. At one end is a separate store room, accessed from the outside only, where the gas cylinders are kept. This has extra ventilation in the door.

### Fire Safety Systems

Give details of any fire safety systems in the premises, such as fire warning systems, emergency lighting, sprinklers etc

## Fire Safety Systems within the premises

Fire warning Systems It has smoke detectors (hard wired) in all the rooms in the main building. These are checked by engineers on a quarterly basis and the alarm system is tested weekly. There are two battery operated smoke detectors in the Stores. The battery is checked monthly by the Group Lead Volunteer. These checks are recorded in the Fire Log Book – kept in the kitchen cupboard.

Emergency Lighting These are maintained lighting units. They are checked monthly (10 mins) by the Group Lead Volunteer and annually (full discharge) by a contractor.

Method for calling the Fire Service

This should be done by anyone finding a fire at the soonest opportunity. They need to dial 999 and ask for the Fire Service. Use a mobile phone or the nearest phone box is on the corner of this road.

Emergency Action Plan (EAP)

Below are the Emergency Procedures which are clearly displayed in a number of key points around the buildings.

# Emergency Procedures at 1st Alphatown Scout Group HQ ## Emergency Procedures Notice These Instructions must be prominently displayed around the building. It must be drawn to the attention of all users. ## Discovery of a Fire If you hear the smoke alarm of discover a fire raise the alarm by shouting ‘FIRE’ and warn people in the vicinity of the fire. Do not put yourself at risk. Leave the building straight away. ## Alarms If you hear the smoke alarm, follow the Evacuation Procedures without delay. ## Alerting the Emergency Services This should be done by anyone finding a fire at the soonest opportunity. They need to dial 999 and ask for the Fire Service. Use a mobile phone or the nearest phone box is on the corner of this road. Please take responsibility for any young people and visitors that may be with you and ensure they know how to follow the evacuation procedure. Assembly Point ## Upon evacuating the building, proceed to the churchyard of St Peter’s Church, approximately 75m from the HQ. ## Traffic Management Parking, at all times, is not permitted outside the fire doors. You are asked to park sensibly and considerately as failure to do this could seriously hinder the efforts of the emergency services and endanger the lives of others. May 2020

Training

All Volunteers receive fire safety training when they start, including basic theory about how and which fire extinguisher to use. Additionally, fire evacuation is practised each term.

Significant Hazards

The Fire Authority should be advised of any significant hazards within the building that may require special procedures for rescue work and fire fighting.

| Significant Hazards |  |
| --- | --- |
| Location | Hazard |
| Kitchen | Cleaning cupboard – metal lockable – containing cleaning fluids, and some paints and thinners. Also meths for Trangia stoves. |
| Stores building | Small supply of camping gas canisters -Typically about 8 2 x 13kg Propane gas canisters 2 x 6 kg Propane gas canisters Gas signage on the outside of the store Local fire station informed of contents |

Revised	22 November 2024